# RAM ENTERPRISE P&P   – 04_FACILITY_MANAGEMENT

Document quality

| Item | Details |
| --- | --- |
| Organization | RAM Governance Portal |
| Document Title | 04_FACILITY_MANAGEMENT |
| Document Code | RAM-PROC-04 |
| Process Area | 04_FACILITY_MANAGEMENT |
| Document Type | Procedure |
| Version | 1.0 |
| Effective Date | 01 Jan 2026 |
| Review Cycle | Annual |
| Owner | Head of Procurement |
| Approved By | CEO / Board |
| Prepared By | Governance Office |
| Classification | Internal |
| Next Review | Jan 2027 |

Revision History

| Version | Date | Author | Changes |
| --- | --- | --- | --- |
| 1.0 | 01 Jan 2026 | Governance Office | Initial Issue |

Distribution List

| Department | Access |
| --- | --- |
| Board | Full |
| Management | Full |
| Departments | Relevant sections |

Document Hierarchy

Level 1 – Policy
Level 2 – Procedure
Level 3 – Work Instruction
Level 4 – Forms / Templates

Contents

RAM ENTERPRISE P&P   – 04_FACILITY_MANAGEMENT	1

04_FACILITY_MANAGEMENT	2

04.1 Facility Management Governance Policy	2

04.1.1 FM Governance Structure	2

04.2 Maintenance Management Policy	2

04.2.1 Preventive Maintenance Procedure	2

04.2.2 Corrective Maintenance Procedure	3

04.2.3 Emergency Maintenance Procedure	3

04.3 Hard Services Management Policy	3

04.3.1 MEP Systems Procedure	3

04.3.2 HVAC Management Procedure	3

04.3.3 Fire & Life Safety Procedure	4

04.4 Soft Services Management Policy	4

04.4.1 Cleaning Services Procedure	4

04.4.2 Security Management Procedure	4

04.4.3 Landscaping & External Areas Procedure	4

04.4.4 Waste Management Procedure	4

04.5 Vendor & Contractor Management Policy	5

04.5.1 Contractor Prequalification	5

04.5.2 SLA Monitoring Procedure	5

04.5.3 Contractor HSE Compliance	5

04.6 Sustainability & Energy Management Policy	5

04.6.1 Energy Monitoring Procedure	5

04.6.2 Water Efficiency Procedure	5

04.6.3 ESG & Environmental Compliance	5

04.7 Health, Safety & Compliance Policy	6

04.7.1 HSE Risk Management	6

04.7.2 Regulatory Compliance	6

Governance, Risk & Control Matrix (Aligned with ISO 37301 & COSO)	6

KPI Dashboard Structure	7

# 04_FACILITY_MANAGEMENT

(RAM Policies & Procedures Manual – WBS Structured Framework)

## 04.1 Facility Management Governance Policy

Purpose: Ensure structured, cost-efficient, compliant, and performance-driven operation of all managed assets.

### 04.1.1 FM Governance Structure

- 04.1.1.1 Define FM organizational model (In-house / Outsourced / Hybrid)

- 04.1.1.2 Define FM authority matrix (RACI)

- 04.1.1.3 Define SLA governance framework

- 04.1.1.4 Define reporting & escalation hierarchy

Forms/Templates:

- FM_ORG_01 – FM Organization Structure Template

- FM_RACI_02 – Authority Matrix

- FM_SLA_03 – SLA Standard Template

- FM_ESC_04 – Escalation Log

## 04.2 Maintenance Management Policy

Purpose: Ensure asset reliability, lifecycle optimization, and downtime minimization.

### 04.2.1 Preventive Maintenance Procedure

- 04.2.1.1 Asset Register Creation

- 04.2.1.2 Maintenance Schedule Development

- 04.2.1.3 Work Order Generation

- 04.2.1.4 Execution & Supervision

- 04.2.1.5 Completion & Sign-Off

- 04.2.1.6 KPI Monitoring (MTBF, MTTR)

Forms:

- FM_ASSET_01 – Asset Register

- FM_PM_02 – Preventive Maintenance Schedule

- FM_WO_03 – Work Order

- FM_KPI_04 – Maintenance KPI Dashboard

### 04.2.2 Corrective Maintenance Procedure

- 04.2.2.1 Issue Reporting (Tenant / System)

- 04.2.2.2 Triage & Priority Classification

- 04.2.2.3 Root Cause Analysis

- 04.2.2.4 Repair Execution

- 04.2.2.5 Incident Closure Report

Forms:

- FM_INC_05 – Incident Report Form

- FM_RCA_06 – Root Cause Analysis Template

- FM_CLOSE_07 – Closure Confirmation

### 04.2.3 Emergency Maintenance Procedure

- 04.2.3.1 Emergency Classification Matrix

- 04.2.3.2 Immediate Response Protocol

- 04.2.3.3 Communication & Escalation

- 04.2.3.4 Post-Incident Review

Forms:

- FM_EM_08 – Emergency Log

- FM_POST_09 – Incident Review Template

## 04.3 Hard Services Management Policy

Scope: MEP, HVAC, Elevators, Fire Systems, Generators.

### 04.3.1 MEP Systems Procedure

- 04.3.1.1 Electrical Systems Maintenance

- 04.3.1.2 Plumbing Systems Monitoring

- 04.3.1.3 Power Backup & Generator Testing

- 04.3.1.4 Load Testing & Compliance

### 04.3.2 HVAC Management Procedure

- 04.3.2.1 Seasonal Readiness Inspection

- 04.3.2.2 Air Quality Monitoring

- 04.3.2.3 Filter Replacement Program

- 04.3.2.4 Energy Optimization Review

### 04.3.3 Fire & Life Safety Procedure

- 04.3.3.1 Fire Alarm Testing

- 04.3.3.2 Sprinkler & Pump Inspection

- 04.3.3.3 Evacuation Drill Management

- 04.3.3.4 Compliance Certification

Forms:

- FM_HARD_10 – Hard Services Inspection Checklist

- FM_FIRE_11 – Fire Drill Report

- FM_HVAC_12 – HVAC Log Sheet

## 04.4 Soft Services Management Policy

Scope: Cleaning, Security, Landscaping, Waste.

### 04.4.1 Cleaning Services Procedure

- 04.4.1.1 Cleaning Schedule Matrix

- 04.4.1.2 Hygiene Standards Monitoring

- 04.4.1.3 Audit & Quality Control

### 04.4.2 Security Management Procedure

- 04.4.2.1 Access Control System

- 04.4.2.2 Visitor Management

- 04.4.2.3 CCTV Monitoring

- 04.4.2.4 Incident Reporting

### 04.4.3 Landscaping & External Areas Procedure

- 04.4.3.1 Irrigation System Maintenance

- 04.4.3.2 Seasonal Planting Plan

- 04.4.3.3 Outdoor Safety Checks

### 04.4.4 Waste Management Procedure

- 04.4.4.1 Waste Segregation Policy

- 04.4.4.2 Recycling Vendor Coordination

- 04.4.4.3 Hazardous Waste Handling

Forms:

- FM_SOFT_13 – Cleaning Audit Sheet

- FM_SEC_14 – Security Incident Log

- FM_WASTE_15 – Waste Tracking Form

## 04.5 Vendor & Contractor Management Policy

### 04.5.1 Contractor Prequalification

- 04.5.1.1 Technical Evaluation

- 04.5.1.2 Financial Due Diligence

- 04.5.1.3 HSE Compliance Verification

### 04.5.2 SLA Monitoring Procedure

- 04.5.2.1 KPI Definition

- 04.5.2.2 Monthly Performance Review

- 04.5.2.3 Penalty & Incentive Mechanism

### 04.5.3 Contractor HSE Compliance

- 04.5.3.1 Permit to Work (PTW)

- 04.5.3.2 Safety Induction

- 04.5.3.3 Site Risk Assessment

Forms:

- FM_VENDOR_16 – Vendor Evaluation Matrix

- FM_SLA_17 – SLA Performance Review

- FM_PTW_18 – Permit to Work

## 04.6 Sustainability & Energy Management Policy

### 04.6.1 Energy Monitoring Procedure

- 04.6.1.1 Energy Metering System

- 04.6.1.2 Monthly Consumption Analysis

- 04.6.1.3 Benchmarking per Asset

### 04.6.2 Water Efficiency Procedure

- 04.6.2.1 Leak Detection

- 04.6.2.2 Water Recycling Systems

### 04.6.3 ESG & Environmental Compliance

- 04.6.3.1 Carbon Footprint Reporting

- 04.6.3.2 Green Building Compliance

- 04.6.3.3 Sustainability KPI Dashboard

Forms:

- FM_ENERGY_19 – Energy Report

- FM_WATER_20 – Water Consumption Log

- FM_ESG_21 – ESG Monitoring Sheet

## 04.7 Health, Safety & Compliance Policy

### 04.7.1 HSE Risk Management

- 04.7.1.1 Hazard Identification

- 04.7.1.2 Risk Assessment Matrix

- 04.7.1.3 Control Measures Implementation

### 04.7.2 Regulatory Compliance

- 04.7.2.1 Local Municipality Compliance

- 04.7.2.2 Civil Defense Certification

- 04.7.2.3 Insurance Coverage Review

Forms:

- FM_HSE_22 – Risk Assessment Template

- FM_COM_23 – Compliance Checklist

# Governance, Risk & Control Matrix (Aligned with ISO 37301 & COSO)

| Risk Category | Risk Description | Control Type | Control Activity | Frequency | Owner | Evidence |
| --- | --- | --- | --- | --- | --- | --- |
| Operational | Asset breakdown | Preventive | PM schedule & KPI tracking | Monthly | FM Manager | KPI Report |
| Compliance | Fire safety non-compliance | Detective | Fire inspection log | Quarterly | HSE Officer | Certification |
| Financial | Vendor overbilling | Preventive | SLA review & invoice reconciliation | Monthly | Finance/FM | Signed SLA Review |
| ESG | Excessive energy use | Corrective | Energy benchmarking & optimization | Monthly | Sustainability Officer | Energy Report |
| Safety | Contractor accidents | Preventive | PTW & Safety induction | Per job | HSE | PTW Records |

# KPI Dashboard Structure

Operational KPIs

- Preventive Maintenance Compliance %

- MTTR / MTBF

- Work Order Closure Time

Financial KPIs

- Maintenance Cost per m²

- Energy Cost per m²

Sustainability KPIs

- kWh per m²

- Water m³ per m²

- Waste Recycling %

Tenant KPIs

- Service Satisfaction Score

- Complaint Resolution Time

Next

- Full BPMN visual process mapping for all FM procedures

- Detailed RACI matrix for FM structure

- ISO 41001 aligned version

- Digitization model (CAFMS structure)

- Integration mapping with 02_Investment & 03_Leasing

- Convert to board-ready structured manual layout

Forms and templates

End of document

Top of Form

Bottom of Form